City of Alexandria

Fire Service Features for Buildings

Fire Apparatus Access Roads – 150’ of all portions of building

(City code requirements)					20’ min width, 13’6”min vertical

All weather surfaces

Dead-end turn-a-rounds to meet Highway Standards

Access to Building Openings and Roofs – Not blocked

Premises Identification – Address numbers (min. 4” ht.)

Key Boxes – KNOX Box (contact Alexandria Fire Marshal)

Hazards to Fire Fighters – Proper markings of shafts & stairways

Fire Protection Water Supplies – Water supply test

Private Service mains –   6” minimum

-    Install to NFPA 24

- Flush & Hydro Test water line (150 psi/2hrs)

-     Hydrant locations

Fire Protection Systems – Automatic Fire Sprinklers (were required)

- Install to NFPA 13 ( annual test/inspections)

- Fire panel w/Monitoring

- Freeze up prevention

-    Fire Extinguisher installation per code

AFD Fire Suppression/Protection Permit Application [Required as of 01/01/2014]

(SEE Form attached)

Hazardous materials usage & storage to meet current codes

ALL ABOVE ITEMS TO BE INSPECTED BEFORE OCCUPANCY

Detailed information on current fire codes available at fire department

Contact Alexandria Fire Marshal at 320-763-6489 or 320-760-6466.

ALEXANDRIA FIRE DEPARTMENT

302 FILLMORE STREET

ALEXANDRIA, MN 56308

Phone: 320-763-6489 Fax: 320-762-9723

□ Commercial     □ Industrial    □ Institutional     □ Public Facility    □ Multi-Family

FIRE SUPPRESSION/PROTECTION SYSTEM

PERMIT APPLICATION

Date ____________________ 			Permit Number _________________

Building Address______________________________________________________

Owner’s Name_________________________________________________________

Address ______________________________________________________________

Phone # ______________________________

Contractor’s Name ____________________________________________________

Address ____________________________________________________________

Phone # _______________________   State License # _______________________

Email

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Type of Work (check one):   □ New   □ Addition   □ Repair   □ Alteration

Total Fire Suppression/Protection System Contract Amount: ________________

Permit Fee: 	      $50

Payable to:          City of Alexandria

704 Broadway

Alexandria, MN  56308

A Set of plans are required.

This permit does not relieve the contractor from compliance with appropriate Federal, State or Local regulations concerning this installation. The contractor certifies that the above information is correct.

Applicant Signature _____________________________________________

AFD Signature          _____________________________________________